## Slide 1
Feasibility Analysis Tool
DC Feasibility Tool v4
Site-specific 8,760-hour simulation engine for data center site evaluation
1 Site & Grid
2 Climate Analysis
3 Scenario Runner
4 Results Dashboard
5 Green Energy
DATA SOURCES & INPUTS
Grid Infrastructure screening
• OSM/Overpass API: substations, lines, cables
• Voltage mapping & distance scoring
• User evidence ingestion (STMG, utility refs)
Climate & Weather data
• Open-Meteo API (5-year archive → 1 repr. year)
• 8,760 hourly records (T_db, RH)
• Manual CSV upload supported
Solar Irradiance profile
• PVGIS / Copernicus (tilt, azimuth, tech type)
Site Geometry & Power
• KML/KMZ upload → area, perimeter
• Power reservation + voltage levels
• Buildable ratio, building height, floor count
SIMULATION ENGINE
8,760-Hour PUE Engine
• Hourly weather-driven cooling COP model
• Energy-weighted annual PUE (Uptime methodology)
• IT capacity spectrum: Worst / P99 / P90 / Mean / Best
8 Cooling Topologies
• Air-CRAC, AHU, Chiller+Econ, RDHx, DLC, Immersion,
Dry Cooler — 3-mode economizer w/ wet-bulb dispatch
6 Load Types × 4 Redundancy × 3 Density
• Colocation (Std/HD), HPC, AI/GPU, Hyperscale, Edge
• N / N+1 / 2N / 2N+1 redundancy levels
Advanced Analytics
• Sensitivity tornado charts & break-even solver
• Load-mix optimizer (multi-workload allocation)
• Firm capacity solver (guaranteed MW)
• PV + BESS + Fuel Cell hourly dispatch
OUTPUTS & REPORTING
Scenario Results
• IT Capacity (MW) & Facility Power
• Annual PUE (static + hourly)
• RAG Status (Red/Amber/Green/Blue)
• Composite Score 0–100
• Racks deployed & binding constraint
Green Energy
• PV offset & BESS cycling metrics
• CO₂ grid offset calculation
• Hourly dispatch visualization
Export Formats
• PDF — executive & detailed reports
• Excel — multi-sheet workbook
• HTML — interactive browser report
• Charts: capacity, PUE, tornado, dispatch
8,760
Hours / Year
Full-year hourly simulation
8
Cooling Topologies
Air to immersion cooling
6
Load Types
Colocation to AI/GPU clusters
3
Export Formats
PDF, Excel, HTML reports
Metlen · Data Center BU · Innovative Team · 2026
DC Feasibility Tool v4.1